## Slide 1: Experimental Neutrino Physics II: The Nature of Neutrinos
Diana Parno
Carnegie Mellon University
National Nuclear Physics Summer School, New Haven, CT
22 June 2018

## Slide 2: Outline
The absolute neutrino-mass scale
  In the lab, and elsewhere
  How to measure a (low-energy) spectrum
  Snapshot: Complex spectra
  Recent commissioning progress
Searching for Majorana neutrinos

## Slide 3: Neutrino Mass Scale
Oscillation experiments give a lower limit on the two heavier neutrino-mass states
What can we say about the offset of the lightest mass from zero?
Lightest neutrino mass m1 (eV)
Neutrino mass mi (eV)
Normal hierarchy

## Slide 4: Neutrino Mass from Cosmology...
Most abundant matter particle in universe
  Neutrino mass affects structure formation, CMB
CDM density
n density
Σmi=0.6 eV
n density
Σmi=0.3 eV
J. Brandbyge et al., JCAP 2008 (2008) 020
Planck collaboration, arXiv:1502.01589
PlanckTT + lowP
+ BAO
PlanckTT + lowP
CMB n-mass limits degenerate with H0 , s8
Tension with cluster counts
Better mn from lab can disentangle LCDM inputs
Notes: Neutrino free-streaming inhibits the growth of perturbations (i.e. suppress the matter power spectrum)
Degeneracy is enhanced at lower neutrino masses
Increasing mnu decreases the amplitude of power spectrum of matter perturbations in universe
Tension with Planck Sunyaev-Zel’dovich cluster abundances. That pushes m_nu higher, but that in turn worsens the discrepancy with local H0 measurements

## Slide 5: .. or 0nbb ...
If neutrinos are Majorana instead of Dirac, then:
  Lepton number violation
  Possible baryogenesis explanation
  Neutrinoless double beta decay 0nbb
    More on this later in the lecture ...
Kellie Jaeger, Discover Magazine
{
Better mn from lab gets the most of data

## Slide 6: ...or Supernovae?
Supernova 1987a in light
Supernova 1987a in neutrinos
G. G. Raffelt, Annu. Rev. Nucl. Part. Sci. 49 (1999), 163
Time delay goes as mn2/En2
From absence of dispersion, mn < 5.8 eV

## Slide 7: Direct mn from b decay
3He
e-
ne
3H
Probability (arb. u.)
b kinetic energy (eV)
mn,eff = 0 eV
mn,eff = 1 eV
b kinetic energy - Q (eV)
Probability (arb. u.)
-5 -4 -3 -2 -1 0
(quasi-degenerate regime)
3H (tritium)
Q = 18.6 keV
t½ = 12.3 years
Super-allowed
Extract effective neutrino mass from spectral shape near endpoint
187Re
Q = 2.47 keV
t½ = 4.5 x 109 yrs
Forbidden
115In to 115Sn*
Q = 0.173 keV
t½ = 4.4 x 1020 yrs
Forbidden

## Slide 8: Direct mn from Electron Capture
Capture de-excitation energy in 163Ho 163Dy* + ne
ne
163Ho
163Dy*
mnb = 0.5 eV
mnb = 0 eV
Lusignoli and Vignati, PLB 697 (2011) 11
163Ho
Q = 2.83 keV
t½ = 4750 years
De Rújula and Lusignoli, PLB 118 (1982) 429
(some e- omitted)

## Slide 9: The State of the Art
Figure from J. Wilkerson, Neutrino 2012
Year
Mass Limit (eV)
Neutrinos discovered
Mainz
Troitsk
MIBETA
SuperK oscillation result
SNO oscillation result
Two more decades until oscillation limit
No longer quasi-degenerate below 0.1 eV

## Slide 10: Outline
The absolute neutrino-mass scale
  In the lab, and elsewhere
  How to measure a (low-energy) spectrum
  Snapshot: Complex spectra
  Recent commissioning progress
Searching for Majorana neutrinos

## Slide 11: The MAC-E Filter
T2 source
Detector
Electrodes
Analyzing plane
Measure integral spectrum with moving threshold
Magnetic Adiabatic Collimation + Electrostatic filter
pe (without E field)
Detailed application to KATRIN: Kleesiek et al., arXiv:1806.00369

## Slide 12: KATRIN
70 m
Windowless, gaseous T2 source
3He
e-
ne
3H
1011 e-/sec
Electron transport
Analyze b energy
103 e-/sec
1011 tritium decays/s
B-field range 3 - 60000 G
DE = 0.93 eV
Design sensitivity: 0.2 eV @ 90% CL
Leopoldshafen, Germany
(near Karlsruhe)
November 2006

## Slide 13: Cyclotron Radiation Emission Spectroscopy
An electron in a magnetic field will radiate at
Never measure anything but frequency.
-- Arthur Schawlow
No need to transport bs away from source
But ... ppm frequency sensitivity needs Dt = 20 ms at 18 keV
  Must follow b for 1.4 km!
  Need a magnetic trap
Monreal and Formaggio, PRD 80 (2009) 051301(R)

## Slide 14: Project 8
New tritium-capable cell
  More versatile trap-coil setup
  Better coupling to waveguide
  Commissioning with 83mKr (T2 soon!)
e- born
Power Radiation
Scattering,
Energy loss
Time (ms)
Frequency – 24 GHz (MHz)
Signal-to-noise ratio (lin.)
83mKr events from first prototype
Asner et al., PRL 114 (2015) 162501
Gas inlet
Magnetometers
Trap coils
Waveguide

## Slide 15: Microcalorimetry
163Ho EC decays are different from 3H b decays:
  Small, distributed energy deposits
  Low total energy SE = 2.8 keV
  Need 4p encapsulation
Heat sink
(sub-Kelvin)
Thermometer
Absorber
Thermal link
Radioisotope
Absorber
  Sandwich 163Ho inside
  Convert energy to heat
  Need very low heat capacity C
Thermometer
  Small DT big DF
  SQUID readout

## Slide 16: ECHo: Metallic Magnetic Calorimeter
Paramagnetic Au:Er sensor – heat disturbs magnetization
Kempf et al., Supercond. Sci. Tech. 30 (2017) 065002
Rise time t = O(100 ns)
DEFWHM = O(1 eV)

## Slide 17: HOLMES: Transition-Edge Sensor
Mo/Cu film near superconducting Tc – R depends on T in transition region
Temperature (mK)
Resistance (mW)
Absorber
TES
Giachero et al. JINST 12 (2017) C02046
Rise time t ~ 20 ms
  Slowed for bandwidth reasons
DEFWHM = O(1 eV)
Plot from
Elena Ferri

## Slide 18: Outline
The absolute neutrino-mass scale
  In the lab, and elsewhere
  How to measure a (low-energy) spectrum
  Snapshot: Complex spectra
  Recent commissioning progress
Searching for Majorana neutrinos

## Slide 19: Molecular Tritium
Simpler to use a T2 source – not just T
b spectrum depends on excitation energies Vk and probabilities Pk – need 1% accuracy
Saenz et al.
PRL 84 (2000) 242
Binding energy (eV)
Relative probability (%/eV)
Approaches to control uncertainty:
  Ongoing improvement in calculations
  Characterization of initial T2 state
  TRIMS experiment to re-check predicted observable
Bodine, DSP, Robertson, PRC 91 (2015) 035505

## Slide 20: Atomic T Source?
Atomic T has less spectral broadening, less uncertainty
But – recombination is deadly
  E0(T2) > E0(T)
Project 8 pursuing R&D toward trapped-atom source for ultimate, “Phase IV” stage
  Mid-2020s?
Thermal
cracker
T2 T+T
Accommodators
Atom trap
Solenoid
T2
Recirculation
Velocity selector
Ashtari Esfahani et al., J. Phys. G 44 (2017) 054004

## Slide 21: 163Ho: Shakeup, Shakeoff, and More
Precise measurements of Q value ongoing
Daughter 163Dy* is excited!
  Spectrum modified by shakeup, shakeoff
  Structure modifies shape near endpoint?
  Additional effects from embedding in solid absorber
1-hole calculation
2-hole calculation
3-hole calculation
  Faessler et al., PRC 91 (2015) 064302
Braß et al., arXiv:1711.10309
Include Auger decays

## Slide 22: Outline
The absolute neutrino-mass scale
  In the lab, and elsewhere
  How to measure a (low-energy) spectrum
  Snapshot: Complex spectra
  Recent commissioning progress
Searching for Majorana neutrinos

## Slide 23: KATRIN: 83mKr Spectroscopy
July 2017: Monoenergetic electrons from two beamline 83mKr sources
Energy (eV)
Norm. resid.
Count rate (cps)
Differential rate (cps/eV)
Commissioning with isotropic source
  Energy scans
  Demonstrate sub-eV energy resolution
  Calibration, monitoring equipment
New method for high-voltage calibration
KATRIN collab., JINST 13 P04020 (2018)
KATRIN collab., EPJ C 78 368 (2018)
K-32 line
Energy 17.8 keV
Natural width 2.7 eV
Averaged over 40/148 pixels
17816 17820 17824 17828

## Slide 24: KATRIN: Very First Tritium
Small amounts of DT introduced in May/June 2018
Measure tritium concentration with laser Raman spectroscopy
LARA system: Schlösser et al., J. Mol. Spect. 1044 61 (2013)
Raman shift (cm-1)
DT conc.: 0.9% (3% variation over scan)
Preliminary
Time
DT concentration (%)
Intensity (arb. u.)

## Slide 25: KATRIN: First Tritium Scan
KATRIN tritium scan #1 (Day 2 of tritium commissioning)
Immediate comparison of data to model
Preliminary
Model initialized with system parameters from slow controls
Very good agreement “out of the box”

## Slide 26: ECHo: A Precise Spectrum
First calorimetric measurement of OI line!
Structures not fully explained by 1-vacancy model – Auger decay?
Ranitzsch et al., PRL 119 (2017) 122501

## Slide 27: ECHo-1k: The Beginning
First chips for next phase are cooled down and taking data

## Slide 28: Outline
The absolute neutrino-mass scale
Searching for Majorana neutrinos
  A fundamental question
  Designing an experiment
  Different isotopes, different strategies
  Present and future

## Slide 29: A Majorana Motivation
1937: Ettore Majorana realizes a neutral, spin-1/2 fermion could in principle be described by a real wave function
If neutrinos are Majorana particles – instead of Dirac particles – we get an appealing set of models for neutrino mass
  Bonus: We also get leptogenesis, a model explaining the excess of matter over antimatter in the early universe
  It also means we violate lepton number ...
Best (only) prospect for experimental test: neutrinoless double beta decay

## Slide 30: Neutrinoless Double Beta Decay
0nbb: simultaneous decay of two nucleons with exchange of light neutrino
Various possible mechanisms
All necessarily imply a Majorana neutrino
2nbb first calculated by Maria Goeppert Mayer, 1935

## Slide 31: Searching for a Very Rare Decay
You need huge amounts of material
  Cheap enrichment to 0nbb isotope/ high natural abundance
You don’t want to miss any event
  Efficient detector with little downtime
Must control background
Graphic: Daniel Dwyer

## Slide 32: Sensitivity and Exposure
Exposure = Mass x Time (t-yr)
Plot: Jason Detwiler
Exposure (ton-years)
T1/2 sensitivity (90% CL, 76Ge, yrs)
Spread in NME calculations
Sensitivity impact of higher background

## Slide 33: Is One Nuclide Best?
Lorem ipsum
Slide: Krishna Kumar

## Slide 34: Background Considerations
Must have clean, well-understood spectrum in region of interest (ROI)
  Go deep underground to avoid cosmic rays
  Carefully select materials, install veto/shield
Graphic: Andrea Giuliani
2nbb (observed)
Continuous spectrum with peak at E = Q/3
0nbb (never seen)
Discrete line, broadened by detector energy resolution
Background from 2nbb can only be addressed with very good energy resolution

## Slide 35: Designing a 0nbb Search
Graphics: Lindley Winslow

## Slide 36: Outline
The absolute neutrino-mass scale
Searching for Majorana neutrinos
  A fundamental question
  Designing an experiment
  Different isotopes, different strategies
  Present and future

## Slide 37: 76Ge – Majorana Demonstrator
Cooled, enriched semiconductor detectors
Excellent energy resolution and tight background control
Preliminary
Majorana Demonstrator Collab., Neutrino 2018

## Slide 38: 76Ge – GERDA
Embed semiconductor Ge detectors in LAr shield
  Detect passing muons, etc, to provide veto
GERDA collab., Neutrino 2018

## Slide 39: 130Te – CUORE
TeO bolometers – high natural abundance
  Coldest cubic meter in universe, at 6.3 mK!

## Slide 40: 130Te – SNO+
Upgraded SNO detector, now to be filled with liquid scintillator and doped with 130Te
Underground purification plants
Should start 0nbb search next year

## Slide 41: 136Xe – EXO
EXO-200 [kg]: Liquid Xe Time Projection Chamber
  Simultaneously collect scintillation, ionization signals
nEXO proposal for next generation
  Reduce background by tagging Ba daughters?

## Slide 42: 136Xe – KamLAND-Zen
Upgrade to KamLAND neutrino-oscillation detector
Internal balloon contains liquid scintillator, 136Xe
Poor energy resolution compensated by large size

## Slide 43: Outline
The absolute neutrino-mass scale
Searching for Majorana neutrinos
  A fundamental question
  Designing an experiment
  Different isotopes, different strategies
  Present and future

## Slide 44: 0nbb: Current Status
Latest limits as reported at Neutrino 2018 two weeks ago
KamLAND-Zen
CUORE
EXO-200
GERDA
Majorana
Demonstrator

## Slide 45: Toward Ton-Scale
At about 1 ton of isotope, we can probe to the bottom of the inverted-hierarchy band
Theory effort needed to better understand quenching of gA coupling constant, nuclear matrix elements
Community R&D over next few years, preparing for selection of isotope and project
Next-generation experiment high priority for nuclear physics

## Slide 46: A Shameless Advertisement, Again
My group is hiring a postdoc to work on:
  KATRIN
    Direct measurement of neutrino mass
  COHERENT
    CEvNS measurements on multiple nuclei
Apply on Interfolio by July 17 for full consideration:
  https://apply.interfolio.com/5143

## Slide 47: Backup

## Slide 48: Whatever Happened to 187Re?
~15 eV sensitivity for MIBETA (2004)
R&D by MARE collaboration
Community has moved on to 163Ho
  Metallic Re (superconducting)
    Complex thermalization
  Dielectric AgReO4
    Long response time
Low specific activity
Nucciotti, Adv. High Energy Phys. 2016 9153024
Re

## Slide 49: 115In: A Dark Horse Isotope?
New decay branch of 115In 115Sn discovered in 2005 (Cattadori et al., Nucl. Phys. A 748 333, 2005)
Lowest known Qb-value, 173±12 eV (Urban et al., PRC 94 011302(R), 2016)
1/2-
9/2+ (gs)
1/2+ (gs)
3/2+
115In
115Sn
stable
0.047%
100%
5.0%
0.0001%
4.41 x 1014 yr
4.49 h
11 ps
336 keV
497 keV
-- Andreotti et al., PRC 84 044605 (2011)
Low-Q decay hidden in Q=497 keV decay branch